## tblBOMMaster
MstrID | PDI | RENO | DENO | BANO | DT | RMK | TIME | BIL | VAR | SSVH | SSVL
1 | F101C4C6A | 16510101 | F10149 | 16510101 | 2013-01-03 | A:\ Transformer with the following:- - Use design # T2-F10149C for Max. Losses Po = 1100 W, Pc = 9000 W. | 30896 | 95 | A | 38 | 3
2 | F101C4BNA |  | F1014J |  | 2016-06-14 |  | 54051 | 95 | A | 38 | 3
3 | F051C4BX |  | F05148I |  | 2016-06-14 |  | 55594 | 95 | NIL | 38 | 3
4 | O121J)T-A |  | O121) |  | 2016-06-16 | A:/ Transformer with the following: - DGPT 2 Relay - Thermometer pocket - Integrally filled | 54534 | 95 | A | 38 | 3
5 | O101E4F5A |  | O101413 |  | 2016-06-30 | A:/ Transformer with the following: - DGPT-2 Relay - Thermometer Pocket - Integrally Filled | 36915 | 95 | A | 38 | 3
6 | O151E4F2A |  | O151421 |  | 2016-06-30 | A:/ Transformer with the following: - DGPT-2 Relay - Thermometer Pocket - Integrally Filled | 38473 | 95 | A | 38 | 3
7 | X150JFT3A |  | X150F21 |  | 2016-08-07 | A:/ Transformer with the following: - DGPT 2 Relay - Integrally Filled - Thermometer Pocket - Winding temperature Indicator - WTICT 2500/2 Amp - NCT 250/1 Amp,5P20,15 VA (ITL Make) - 4 Terminal bushing enclosure assembly - Oil Temperature Transmitter - Terminal Box - Cable Tray - Jacking Pad NOTE : - Tank wall 4 mm - Tank Top and Bottom 6 mm - Aluminium gland plate for HV and LV cable box - HV cable box suitable for 1x3cx185 sq.mm cu. xple cable - LV cable box suitable for 4x1cx630 sq.mm cu. xlpe cable per phase and 2x1cx630 sq.mm cu. xlpe cable for neutral with PG 48 PVC cable glands 14 Nos. | 32703 | 75 | A | 28 | 3
8 | X050CFCMA | 16510198 | X050F41 | 16510198 | 2016-08-07 | A;\ Transformer with the following: - DGPT 2 Relay - Integrally Filled - Thermometer Pocket - Winding Temperature Indicator - WTICT 1000/2 Amp - 4 Terminal bushing enclosure assembly - Oil Temperature Transmitter - Terminal Box - Cable Tray - Jacking Pad NOTE: - Tank wall 4 mm - Tank Top, Bottom 6 mm - Aluminium Glande Plate for HV and LV Cable box - HV cable box suitable for 1x3cx185 sq.mm cu. xlpe cable - LV cable box suitable for 2x1cx630 sq.mm cu. xlpe cable per phase and 1x1cx630 sq.mm cu. xlpe cable for neutral | 59220 | 75 | A | 28 | 3
9 | X050CFCMA | 16510198 | X050F41 | 16510198 | 2016-08-07 | A;\ Transformer with the following: - DGPT 2 Relay - Integrally Filled - Thermometer Pocket - Winding Temperature Indicator - WTICT 1000/2 Amp - 4 Terminal bushing enclosure assembly - Oil Temperature Transmitter - Terminal Box - Cable Tray - Jacking Pad NOTE: - Tank wall 4 mm - Tank Top, Bottom 6 mm - Aluminium Glande Plate for HV and LV Cable box - HV cable box suitable for 1x3cx185 sq.mm cu. xlpe cable - LV cable box suitable for 2x1cx630 sq.mm cu. xlpe cable per phase and 1x1cx630 sq.mm cu. xlpe cable for neutral | 59220 | 75 | A | 28 | 3
10 | A151V4N4A |  | A15145 |  | 2016-08-11 | A:\ Transformer with the foillowing: - HV Integral Bushing (0211/w33) - HV BIL 95 KV - LV Power Frequency Voltage 10 KV - ELSP FUSE 2X150 Amp ( parallel) - Welded type compartment Assembly | 28261 | 95 | A | 34 | 10
11 | O151E4F2A |  | O151421 |  | 2016-07-20 | A:\ Transformer with the followings: - DGPT-2 Relay - Thermometer Pocket - Integrally Filled | 34289 | 95 | A | 38 | 3
12 | O101E4F5A |  | O101413 |  | 2016-07-25 | A:\ Transformer with the following: - DGPT2 Relay - Thermometer Pocket - Integrally Filled | 31175 | 95 | A | 38 | 3
13 | A201C8B5A | 16510169 | A20185 | 16510169 | 2016-08-16 |  | 57260 | 110 | A | 34 | 10
14 | F151C4C2E |  | F15142 |  | 2016-08-25 | E:\ Transformer with the following : - DGPT 2 Relay - Integrally Filled - Thermometer Pocket - Paint RAL 7035 | 29164 | 95 | E | 38 | 3
15 | O031E4F-E | 120140703 | O0314/D | 120140703 | 2009-07-23 | E: \ Transformer with the following: - DGPT 2 relay - Thermometer pocket - Integrally filled | 32534 | 95 | E | 38 | 3
16 | O031E4F-F |  | O0314/D |  | 2016-08-25 | F:\ Transformer with the following: - DGPT 2 Relay - Integrally Filled - Thermometer Pocket - Paint RAL 7035 | 32213 | 95 | F | 38 | 3
17 | F013O4C6 | 16510215 | F0134Z | 16510215 | 2016-08-28 |  | 60126 | 200 | NIL | 70 | 10
18 | A051V8NWC |  | A0518ZA |  | 2016-10-31 | c:/ Transformer with the following: - Welded type Compartment assembly - HV BIL 95 KV - LV Power frequency voltage 10 kVrms - Bushing Insert 6x - Paint RAL 7035 - Design no. T2-A0518ZA | 51687 | 95 | C | 34 | 10
19 | O163J4T1A | 16510301 | O16342 | 16510301 | 2016-11-06 | A: Tansformer with following: - DGPT relay - Integrally filled. | 36999 | 170 | A | 70 | 3
20 | O103J4T-B | 16510302 | O10341 | 16510302 | 2016-11-06 | B: Transformer with following: - DGPT Relay - Integrally filled | 34262 | 170 | B | 70 | 3
21 | E051C4C5A | 16510255 | E05144 | 16510255 | 2016-11-08 | A:\ Transformer with the following: - Welded top cover - HV Cable box suitable for 1x3cx300 sq.mm cu. xlpe cable - LV cabel box suitable for 2x1cx400 sq.mm cable with PG 42 PVC Cbale glands(8x) and Tmax,T6S,1000A,4P MCCB. Note:- The filtered oil moisture content shall not exceed 10 PPM. - Transformer oil from M/s.NYNAS (NITRO LIBRA) | 52877 | 95 | A | 38 | 3
22 | E051C4C5B | 16510254 | E05144 | 16510254 | 2016-11-08 | B:\ Transformer with the following: - Welded top cover - HV Cable box suitable for 1x3cx300 sq.mm cu.XPLE cable - LV Cable box suitable for 4x1cx400 sq.mm cable with PG 42 PVC cable glands (16x) and Tmax, T6S, 1000 A 4P MCCB. Note:- the filtered oil moisture content shall not exceed 10 PPM - Transformer oil from M/S. NYNAS (NITRO LIBRA) | 57026 | 95 | B | 38 | 3
23 | E051C4C5C |  | E05144 |  | 2016-11-08 | C:\ Transformer with the following: - Welded top cover - HV cable box suitable for 1x3cx300 sq.mm cu. XLPE cable - LV cable box suitable for 4x1cx630 sq.mm cable with PG 48 PVC cable glands (16x) and Tmax, T6S, 1000 A 4P MCCB Note:- The filtered oil moisture content shall not exceed 10 PPM - Transformer oil from M/s. NYNAS (NITRO LIBRA) | 57591 | 95 | C | 38 | 3
24 | E053T4C2A | 16510252 | E05343 | 16510252 | 2016-11-09 | A:/ Transformer with the following: - Welded top cover - HV cable box suitable for 1x3cx300 sq.mm cu. xlpe cable - LV cable box suitabel for 2x1cx400 sq.mm cable with PG42 PVC cable glands(8x) and Tmax, T6S, 1000A, 4P MCCB NOTE:- The filtered oil moisture content shall not exceed 10 PPM. - Transformer oil from M/s.NYNAS (Nitro Libra) | 37902 | 170 | A | 70 | 3
25 | F151C4C9 | 16510298 | F1514X | 16510298 | 2016-04-25 |  | 34747 | 95 | NIL | 38 | 3
26 | E071C4C1C |  | E07141 |  | 2016-11-09 |  | 58468 | 95 | C | 38 | 3
27 | O057T3C2A | 16510312 | O05732 | 16510312 | 2016-11-15 | A: Transformer with following: - Pr. relay with contacts - Oil level gauge with cts - Terminal box - OTI with cts | 40914 | 170 | A | 70 | 3
28 | O201J4TRA | 16510315 | O20145F | 16510315 | 2016-11-15 | A:/ Transformer with the following: - Conservator - W.T.I - P.R.D | 31432 | 95 | A | 38 | 3
29 | E151C4C-A |  | E1514 |  | 2016-11-15 |  | 58369 | 95 | A | 38 | 3
30 | O251J4T8E | 16510316 | O25148A | 16510316 | 2016-11-15 | E:/ Trasformer with the following - Conservator - W.T.I - P.R.D | 33750 | 95 | E | 38 | 3
31 | O251J4TYA | 16510316 | O25148A | 16510316 | 2016-05-04 | A:-/Transformer with the following. - winding temperature indicator - Pressure relief device - Dial type thermometer with 2 contacts - Buchholz relay type. | 34993 | 95 | A | 38 | 3
32 | O251J4TYA | 16510316 | O25148A | 16510316 | 2016-05-04 | A:-/Transformer with the following. - winding temperature indicator - Pressure relief device - Dial type thermometer with 2 contacts - Buchholz relay type. | 34993 | 95 | A | 38 | 3
33 | O-51C4C2A | 16510329 | O-5145 | 16510329 | 2016-11-21 | A:/ Transformer with the following: - Stock Cu. Wire used | 49384 | 110 | A | 38 | 3
34 | A101V8N7A | 16510296 | A10187 | 16510296 | 2016-10-25 | A:-Transformer with the following. -HV BIL 95 kV. -LV power frequency 10 kV. -Welded compartment assembly. | 56015 | 95 | A | 34 | 10
35 | A071V8NZA | 16510295 | A07189 | 16510295 | 2016-10-25 | A:/- Transformer with the following. -95 kV HV BIL. -10 kV LV power frequency voltage. -Paint color RAL 7035. -Welded type compartment assembly. | 54244 | 95 | A | 34 | 10
36 | A151V8NZA | 16510297 | A15189 | 16510297 | 2016-10-25 | A:/-Transformer with the following. - 110 kV HV BIL. - 10 kV LV power freqeuncy voltage - HV epoxy well bushing. - Welded compartment assembly. - Paint color RAL 7035. | 54265 | 95 | A | 34 | 10
37 | A051V8NTA | 16510294 | A0518Y | 16510294 | 2016-10-25 | A:/-Transformer with the following. - 10 kv LV power frequency voltage - Final paint color RAL 7035. -Welded type compartment assembly -Integral bushing. | 54224 | 95 | A | 34 | 10
38 | F101C4CZA | 16510340 | F1014E | 16510340 | 2016-12-19 | A:/ Transformer with the following - HV BIL 110 kv - Po = 1100W , Pc = 9000W - HV Bushing Bolted type (0211/045) - Stock Cu. foil used | 52929 | 110 | A | 38 | 10
39 | O044C8C1A | 16510342 | O04481 | 16510342 | 2016-12-25 | A:/ Transformer with the following: - Terminal boxes with Space heater and thermostat. - C5-M paint with final color RAL 7035. | 38129 | 60 | A | 20 | 3
40 | O084C8C1A | 16510341 | O08481 | 16510341 | 2016-12-25 | A:/ Transformer with the following - DGPT-2 - WTI - Space heater and thermostat inside C/B - C5-M Paint with final color RAL 7035 | 41687 | 60 | A | 20 | 3
41 | O121E4F4A | 16510335 | O1214T | 16510335 | 2016-12-26 |  | 37894 | 95 | A | 38 | 3
42 | AA11V8N8B |  | AA1187 |  | 2017-01-10 |  | 29817 | 95 | B | 34 | 10
43 | C031C4C-A | 17510001 | C03141 | 17510001 | 2017-01-15 | A:/ Transformer with the following: - Circuit Breacker Tmax T6N 800A 3P (0233/433) - Dial Type thermometer. - Final paint color RAL 7035. - Maximum losses and Impedance as per SEC. | 28233 | 95 | A | 38 | 3
44 | O101E8F1A | 17510008 | O1018W | 17510008 | 2017-01-15 | A:/ Transformer with the following: - DGPT-2 Relay. - Intgrally filled. - Thermometer pocket. - Paint Color RAL 7035. | 27208 | 95 | A | 38 | 3
45 | F023O4C5A |  | F0234Y |  | 2012-11-21 | A:/Transformer with the following - HV BIL 200kV. | 30486 | 200 | A | 70 | 3
46 | F023O4C5 | 17510023 | F0234X | 17510023 | 2017-01-23 |  | 58879 | 200 | NIL | 70 | 10
47 | F013O4C7 | 17510022 | F0134Y | 17510022 | 2017-01-23 |  | 57142 | 200 | NIL | 70 | 10
48 | O121E4F5A | 17510033 | O12144F | 17510033 | 2017-01-29 | A: Transformer with following: - DGPT relay - Thermometer pocket - integrally filled | 27356 | 95 | A | 38 | 3
49 | O301J8T3 | 17510058 | O30184 | 17510058 | 2017-01-29 | Nil: Transfomrer with following. - HV cable 3Cx150 sqmm - LV cable 7 set of 4c x 300 sq mm + 150 sqmm gnd cable. | 42447 | 95 | NIL | 38 | 3
50 | F151C4BKA |  | F1514L |  | 2017-01-23 |  | 53293 | 95 | A | 38 | 3
51 | F053C2C6A | 17510020 | F05326 | 17510020 | 2017-01-16 | A:-Transformer with the following. -HV BIL 200 kV. | 47039 | 200 | A | 70 | 3
52 | F033O2C8A | 17510019 | F0332X | 17510019 | 2017-01-16 |  | 49973 | 200 | A | 70 | 10
53 | F103C2C3A | 17510021 | F10325 | 17510021 | 2017-01-16 | A:-Transformer with HV BIL 200 KV | 58313 | 200 | A | 70 | 10
54 | F053C4C5 | 17510025 | F05345 | 17510025 | 2017-02-02 |  | 50284 | 200 | NIL | 70 | 10
55 | F103C4C7 | 17510026 | F10349 | 17510026 | 2017-02-02 |  | 50602 | 200 | NIL | 70 | 10
56 | E05CC4CV |  | E05C4 |  | 2017-02-01 |  | 38515 | 95 |  | 38 | 3
57 | E051C4CV |  | E05145 |  | 2017-01-30 |  | 46550 | 95 |  | 38 | 3
58 | E101C4CV1 |  | E10144 |  | 2017-01-30 |  | 41509 | 95 |  | 38 | 3
59 | E251C3CVA |  | E25132 |  | 2017-01-30 |  | 36700 | 95 | A | 38 | 3
60 | E05CC4CV |  | E05C4 |  | 2017-02-13 |  | 28432 | 95 |  | 38 | 3
61 | A101V8N8A |  | A10183C |  | 2014-09-14 | A:- Transformer with the following. -HV BIL 95 kV. -LV power frequency 10 kV. -ELSP fuse 150 AMp. -Welded type compartment assembly. | 57434 | 95 | A | 34 | 10
62 | O101J4T9A | 17510077 | O1014F | 17510077 | 2017-02-20 | A:/ Transformer with the following: - Dial type thermometer with 2 cts. - Vertival type Oil Level Indicator. - Drain Valve with sampling. - Paint Colour RAL 7033. | 55450 | 95 | A | 38 | 3
63 | A011V2N1A | 17510085 | A0112 | 17510085 | 2017-02-28 | A:/ Transformer with the following : - 10kV Power Frequency Voltage - HV Bushing insert (6x) - Paint colour RAL 7035 - Welded type compartment | 41843 | 95 | A | 34 | 10
64 | A051V2N2A | 17510086 | A05122 | 17510086 | 2017-01-25 | A:-Transformer wth the following. _ LV power frequency 10 kv. _ HV BIL 95kV. | 39817 | 95 | A | 34 | 10
65 | A051VDN8A | 17510073 | A051D8 | 17510073 | 2017-02-28 |  | 32262 | 95 | A | 34 | 10
66 | F101CVC-A | 17510122 | F101V | 17510122 | 2017-03-12 | A: Transformer with following: - DGPT relay - Integrally filled - Thermometer pocket. | 58733 | 95 | A | 38 | 3
67 | C031C4C-A | 17510001 | C03141 | 17510001 | 2017-01-15 | A:/ Transformer with the following: - Circuit Breacker Tmax T6N 800A 3P (0233/433) - Dial Type thermometer. - Final paint color RAL 7035. - Maximum losses and Impedance as per SEC. | 28233 | 95 | A | 38 | 3
68 | F101CVC-A | 17510122 | F101V | 17510122 | 2017-03-12 | A: Transformer with following: - DGPT relay - Integrally filled - Thermometer pocket. | 58733 | 95 | A | 38 | 3
69 | O157J5T1A | 16510119 | O15751 | 16510119 | 2016-07-12 |  | 49759 | 170 | A | 70 | 3
70 | O051C3CVB | 17510014 | O0513/V | 17510014 | 2002-03-05 | B:\ Trafo with the following:. - Dial type thermometer 2-cts - Over pressure relay 2-cts - Terminal box - Terminal blocks with numbering - Two earthing terminals - Rollers with blocking facility ( dwg# 330/S403) Note: LV Power Frequency Voltage is 10 KV. | 35740 | 0 |  | 0 | 0
71 | O051C4CVA | 17510013 | O0514/V | 17510013 | 2003-05-22 | E:\ Trafo with the following: - LV Power frequency voltage 10 kV - DGPT-2 relay - Terminal Box - Two Earthing Terminals (W. Stud M10) - Rollers with blocking facility (Dwg.# 330/S403) | 44438 | 95 |  | 38 | 3
72 | E251C3C1A | 17510016 | E2513A | 17510016 | 2012-01-17 | .A:/ Transformer with the following: - Welded top cover. - Final paint color RAL 7038 Agate Grey. - Wooden Crafting. - Core Earthing Bushing | 40309 | 95 | A | 38 | 3
73 | O101E8F1A |  | O1018W |  | 2017-03-16 | A.\ Transformer with followings: - DGPT-2 Relay. - Thermometer Pocket. | 57642 | 95 | A | 38 | 3
74 | O051C3CVB | 17510014 | O0513/V | 17510014 | 2002-03-05 | B:\ Trafo with the following:. - Dial type thermometer 2-cts - Over pressure relay 2-cts - Terminal box - Terminal blocks with numbering - Two earthing terminals - Rollers with blocking facility ( dwg# 330/S403) Note: LV Power Frequency Voltage is 10 KV. | 35740 | 0 |  | 0 | 0
75 | O101J4TV3 |  | O1014M |  | 2017-03-28 |  | 48186 | 95 |  | 38 | 3
76 | E251C3C1A | 17510016 | E2513A | 17510016 | 2012-01-17 | .A:/ Transformer with the following: - Welded top cover. - Final paint color RAL 7038 Agate Grey. - Wooden Crafting. - Core Earthing Bushing | 40309 | 95 | A | 38 | 3
77 | O051C4CVA | 17510013 | O0514/V | 17510013 | 2003-05-22 | E:\ Trafo with the following: - LV Power frequency voltage 10 kV - DGPT-2 relay - Terminal Box - Two Earthing Terminals (W. Stud M10) - Rollers with blocking facility (Dwg.# 330/S403) | 44438 | 95 |  | 38 | 3
78 | O051C3CVB | 17510014 | O0513/V | 17510014 | 2002-03-05 | B:\ Trafo with the following:. - Dial type thermometer 2-cts - Over pressure relay 2-cts - Terminal box - Terminal blocks with numbering - Two earthing terminals - Rollers with blocking facility ( dwg# 330/S403) Note: LV Power Frequency Voltage is 10 KV. | 35740 | 0 |  | 0 | 0
79 | X100C4CUA | 17510163 | X1004T | 17510163 | 2017-04-19 | A:/ Transformer with the following: - Marshalling box accessories will be supplied by UNEECO, except DOOR SWITCH LIMIT (0245/W29). - Conservator type transformer. - Transformer Oil shall be from M/s NYNA Nitro Libra. - Inside of transformer shall be painted with oil resistance varnish. - Final Paint Color shall be Munsell 2.5Y 8.5/4 - Painting Procedure shall follow DF/FPS/21. - HV & LV Cable boxes shall be provided with Undrilled Cable gland plate (Non-Magnetic) - HV Cable box suitable for 1x1cx240 mm.sq - LV Cable box suitable for 2x1cx630 mm.sq per phase and neutral. | 60099 | 75 | A | 28 | 3
80 | O051C3CVB | 17510014 | O0513/V | 17510014 | 2002-03-05 | B:\ Trafo with the following:. - Dial type thermometer 2-cts - Over pressure relay 2-cts - Terminal box - Terminal blocks with numbering - Two earthing terminals - Rollers with blocking facility ( dwg# 330/S403) Note: LV Power Frequency Voltage is 10 KV. | 35740 | 95 | B | 38 | 3
81 | O253E4F | 17510171 | O25342 | 17510171 | 2017-04-24 |  | 61050 | 170 | NIL | 70 | 3
82 | O157J5T2A |  | O15752 |  | 2017-04-19 | A.\ Transformer with the followings: - DGPT-2 Relay. - Thermometer Pocket. | 50471 | 170 | A | 70 | 3
83 | F033O2C8A |  | F0332X |  | 2017-04-25 | A.\ Transformer with LV power Frequency 10kV. | 52486 | 200 | A | 70 | 10
84 | O101J4TV3 |  | O1014V |  | 2017-04-16 |  | 56231 | 95 | NIL | 38 | 3
85 | F013O4C7 |  | F0134Y |  | 2017-04-30 |  | 51225 | 200 | NIL | 70 | 10
86 | O121E3F2A |  | O12133 |  | 2017-05-09 |  | 41120 | 95 |  | 38 | 3
87 | O151E3F-A |  | O15139 |  | 2017-05-09 |  | 41084 | 95 |  | 38 | 3
88 | F101C4CYA | 17510186 | F1014I | 17510186 | 2017-05-16 | A: Transformer with following: - DGPT relay - Integrally filled - Thermometer pocket. | 30077 | 110 | A | 38 | 10
89 | O151J1T1A | 17510196 | O1511 | 17510196 | 2017-05-16 | A: Transformer with follwoing: - DGPT - Thermometer - Integrally filled. | 33467 | 95 | A | 38 | 3
90 | F051C4C6B | 17510187 | F0514T | 17510187 | 2017-05-15 | B: Transformer with following; - DGPT relay - Rollers - Itegrally filled - Thermometer pocket. | 38450 | 110 | B | 38 | 10
91 | OA61C4B3A | 17510194 | OA6144 | 17510194 | 2017-05-17 | A.\ Transformer with the followings: - DGPT-2 Relay. - Thermometer Pocket. - Integrally Filled. | 52352 | 95 | A | 38 | 3
92 | O253E4F |  | O25342 |  | 2017-05-16 |  | 41991 | 170 | NIL | 70 | 3
93 | X020OEC2 |  | X020EU |  | 2017-05-17 |  | 53099 | 95 | U | 38 | 3
94 | X020CEC2 |  | X020EUA |  | 2017-05-17 |  | 53166 | 95 |  | 38 | 3
95 | O151E2F-B | 17510156 | O1512/B | 17510156 | 2002-12-18 | Prototype is required. B:\ Trafo with DGPT-2 relay | 52696 | 0 |  | 0 | 0
96 | E071C4C3A | 17510231 | E07141B | 17510231 | 2017-05-28 | A:/ Transformer with the following - Welded top cover. - Paint Colour RAL 7038. - HV BIL 125kV. - LV PF 10kV - Oil Level Indicator with 2Cts. - Oil Temperature Indicator with 2Cts. - PRD with 2Cts. Note:- - Transformer oil to be provided from M/s NYNAS (NYTRO LIBRA) - The filtered oil moisture content shall not exceed 10 PPM. | 46196 | 125 | A | 50 | 10
97 | F101C4CZB |  | F1014E |  | 2017-01-22 |  | 28373 | 110 | B | 38 | 10
98 | O101C0C | 17510256 | O10101 | 17510256 | 2017-06-11 |  | 56585 | 95 | NIL | 38 | 3
99 | O071C0C | 17510257 | O0710 | 17510257 | 2017-06-11 |  | 57245 | 95 | NIL | 38 | 3
100 | O101T4B-A |  | O1014I |  | 2017-06-14 |  | 42159 | 95 | A | 38 | 3
101 | O051E4B9A |  | O0514K1 |  | 2017-06-19 |  | 50279 | 95 | A | 38 | 3
102 | O031E4B8A |  | O0314Y1 |  | 2017-06-19 |  | 57887 | 95 | A | 38 | 3
103 | O031E4B8A |  | O0314Y1 |  | 2017-06-19 |  | 57887 | 95 | A | 38 | 3
104 | O031E4B8A |  | O0314Y1 |  | 2017-06-19 |  | 57887 | 95 | A | 38 | 3
105 | O031E4B8A |  | O0314Y1 |  | 2017-06-19 |  | 57887 | 95 | A | 38 | 3
106 | O251E4F2A | 17510262 | O2514ZA | 17510262 | 2017-07-02 | A.\ Transformer with the followings: - Dial Type Thermometer with 2 contacts. - LV Extension Busbar. | 58235 | 95 | A | 38 | 3
107 | X020OEC2 | 17510207 | X020EU | 17510207 | 2017-06-20 |  | 35522 | 75 | NIL | 28 | 3
108 | O081E4F-D | 17510206 | O08141 | 17510206 | 2017-06-22 | D.\ Transformer with the followings: - DGPT-2 Relay. - Thermometer Pocket. - Integrally Filled. - Temperature Rise 50ø/55ø. - Winding Temperature Indicator. - Terminal Box. - CT 1200/2A, 25VA. - Core Eating Bushing. - Final Paint Color RAL 7035. | 48444 | 95 | D | 38 | 3
109 | OA11C4C2A | 17510270 | OA1145 | 17510270 | 2017-07-12 | A: Transformer with following: - OTI with cts. - Rollers | 44740 | 95 | A | 38 | 3
110 | O121JCT | 17510320 | O121C2 | 17510320 | 2017-07-12 |  | 48980 | 95 | NIL | 38 | 3
111 | O071C4B3A |  | O0714Y |  | 2017-07-17 |  | 60402 | 95 | A | 38 | 3
112 | F151C2B6 |  | F1512S |  | 2017-07-19 |  | 41204 | 95 | NIL | 38 | 3
113 | F103C4B1 |  | F1034Z |  | 2017-07-25 |  | 35023 | 170 | NIL | 70 | 3
114 | O073C4B |  | O07744 |  | 2017-07-25 |  | 41638 | 170 | NIL | 70 | 3
115 | O633C4B |  | O63343 |  | 2017-07-25 |  | 43265 | 170 | NIL | 70 | 3
116 | F053C4C6A | 17510326 | F05346 | 17510326 | 2017-07-26 | A: Transformer with following: - WESCOSA logo and rating plate. | 60437 | 200 | A | 70 | 10
117 | O123C4B |  | O12341 |  | 2017-07-27 |  | 34186 | 170 | NIL | 70 | 3
118 | O1A3C4B |  | O-1A34 |  | 2017-07-27 |  | 34980 | 170 | NIL | 70 | 3
119 | O013C4B |  | O01349 |  | 2017-07-27 |  | 35686 | 170 | NIL | 70 | 3
120 | F053O4C | 17510332 | F05342H | 17510332 | 2017-07-31 |  | 39219 | 200 | NIL | 70 | 10
121 | O051CSC | 17510331 | O051S | 17510331 | 2017-07-31 |  | 40301 | 95 | NIL | 38 | 3
122 | F033C4C4 | 17510328 | F03349A | 17510328 | 2017-07-31 | - Final Paint Colour RAL 7035 - HV BIL 200 kVp | 58589 | 200 | NIL | 70 | 10
123 | O-53C4B |  | O-5343 |  | 2017-07-27 |  | 36835 | 170 | NIL | 70 | 3
124 | O151J1T1A | 17510196 | O1511 | 17510196 | 2017-08-02 | A.\ Transformer with the following: - DGPT-2 Relay. - Thermometer Pocket. | 49257 | 95 | A | 38 | 3
125 | O033C4B |  | O03346 |  | 2017-07-25 |  | 49682 | 170 | NIL | 70 | 3
126 | O354C8C-A | 17510343 | O3548 | 17510343 | 2017-08-15 |  | 61322 | 95 | A | 38 | 3
127 | F033C4C4 | 17510328 | F03349A | 17510328 | 2017-08-16 |  | 39267 | 200 | NIL | 70 | 10
128 | O051CSC | 17510331 | O051S | 17510331 | 2017-08-21 |  | 46775 | 95 | NIL | 38 | 3
129 | X05MCSC-A | 17510361 | X05MS | 17510361 | 2017-08-29 | A: Transformer with following - DGPT relay - Integrally filled - Thermometer pocket. | 29565 | 95 | A | 38 | 3
130 | F101C4CYA | 17510242 | F1014I | 17510242 | 2017-05-16 | A: Transformer with following: - DGPT relay - Integrally filled - Thermometer pocket. | 30077 | 110 | A | 38 | 10
131 | O3A1JST-A | 17510400 | O3A1S | 17510400 | 2017-08-29 |  | 50211 | 95 | A | 38 | 3
132 | O251JST1B | 17510399 | O251S | 17510399 | 2017-08-29 |  | 50071 | 95 | B | 38 | 3
133 | O201JST2A | 17510398 | O201S4 | 17510398 | 2017-08-29 |  | 50053 | 95 | A | 38 | 3
134 | O121JST2A |  | O121S2 |  | 2017-10-23 |  | 29891 | 95 | A | 38 | 3
135 | O351C8C-A | 17510418 | O3518 | 17510418 | 2017-10-26 | A:/ Transformer with the following - Thermostat and space heater inside the cable boxes. - DGPT-2 Relay | 60107 | 95 | A | 38 | 3
136 | Y201J4T1A | 17510444 | Y2014/A | 17510444 | 2017-11-27 | A:/ Transformer with the following: - DGPT-2 Relay. - YNd1. - Ambient temp. 55 degC - Rating Plate 0777/133 | 42074 | 95 | A | 38 | 3
137 | O151CCB |  | O151C2 |  | 2017-12-03 |  | 33699 | 95 | NIL | 38 | 3
138 | O070E8B-A |  | O0708 |  | 2017-12-04 |  | 33249 | 95 | A | 38 | 3
139 | O037C@C | 17510491 | O037@ | 17510491 | 2017-12-11 |  | 56359 | 170 | NIL | 70 | 3
140 | O251JST2A | 18510003 | O251S2 | 18510003 | 2018-01-09 | A:/ Transformer with the following: - DGPT-2 Relay . - Thermometer Pocket. | 42043 | 95 | A | 38 | 3
141 | E051C4C4E | 17510516 | E05141B | 17510516 | 2018-01-09 | E:/ Transformer with the following: - Welded top cover - HV removable cable box - LV removable cable box sutiable for C.Breaker Tmax T6S 1000Amp 4Pole , (X8 PG48 Cable Gland) - Dial type thermometer with 2 Cts. - Oil level indicator with 2 Cts. - Pressure Relief Device with 2Cts. - Terminal Box. Note: - Transformer Oil Should be from M/s. NYNAS (Nytro/Libar) - Moisture content of transformer oil should be less than 10ppm. | 52541 | 95 | E | 38 | 3
142 | F151C4BD |  | F1514K |  | 2018-01-28 |  | 52700 | 95 | NIL | 38 | 3
143 | F151C4BE |  | F1514H |  | 2018-01-28 |  | 52312 | 95 | NIL | 38 | 3
144 | X10SC4C-A | 18510031 | X10S41 | 18510031 | 2018-01-30 |  | 39685 | 75 | A | 28 | 3
145 | F153C4C3A | 18510050 | F15342A | 18510050 | 2018-03-05 | A: TRANSFORMER WITH FOLLOWING - WESOCSA RATING PLATE AND LOGO | 37545 | 200 | A | 70 | 10
146 | O253J4T2 | 18510122 | O25341 | 18510122 | 2018-04-02 |  | 27949 | 170 | NIL | 70 | 3
147 | F101C4CUA | 18510138 | F1014OA | 18510138 | 2018-04-08 | A:/Transformer with the following - DGPT-2 Relay. - Integrally filled. - Thermometer pocket. | 49968 | 110 | A | 38 | 10
148 | F051C4C6A | 18510103 | F0514T | 18510103 | 2018-04-12 | A:/ Transformer with the following - 110kV BIL - LV P.F.V 10kV | 32180 | 110 | A | 38 | 10
149 | F101C4CWA | 18510105 | F1014O | 18510105 | 2018-04-16 |  | 41133 | 110 | A | 38 | 10
150 | O201E4BXA |  | O201S5 |  | 2018-05-03 |  | 59227 | 95 | A | 38 | 3
151 | A101C8C4A | 18510199 | A10188 | 18510199 | 2018-05-07 |  | 29537 | 110 | A | 38 | 10
152 | A101C8C4A | 18510199 | A10188 | 18510199 | 2018-05-07 |  | 29537 | 110 | A | 38 | 10
153 | O011B4BNM | 120031511 | O0114NB | 120031511 | 2003-07-12 |  | 35273 | 95 | NIL | 38 | 3
154 | O021C4B6A | 18510216 | O02143B | 18510216 | 2018-05-17 | A:\ Transformer with the following: - DGPT-2 Relay. - Thermometer Pocket. - Integrally Filled. | 56002 | 95 | A | 38 | 3
155 | O-71B4B | 18510219 | O-7144 | 18510219 | 2018-05-17 |  | 48428 | 95 | NIL | 38 | 3
156 | O201C4C | 18510210 | O2014R | 18510210 | 2018-05-17 | Limited dimension as per customer request | 39388 | 95 | NIL | 38 | 3
157 | F157C4C3 | 18510168 | F15742A | 18510168 | 2018-05-27 |  | 39495 | 170 | NIL | 70 | 3
158 | F157C4C3 | 18510168 | F15742A | 18510168 | 2018-05-27 |  | 39495 | 170 | NIL | 70 | 3
159 | E051C4C4F | 18510228 | E05141B | 18510228 | 2018-06-05 | F:/ Transformer with the following: - Welded top cover. - Core earthing bushing. - Inspection cover. - Metal Stopper. - Removable HV cable box. - Removable LV cable box with NCT 1000/1A 15VA 5P20 Class. - OLI with 2 contacts - OTI with 2 contacts - PVG with 2 contacts Note:- - Tank top and bottom should be 6 mm thik. minimum. - OTI from JUMO with 2 Cts. - OLI from CED with 2 Cts. - Transformer oil should be from M/s. NYNAS (Lytro/Libra) - Moisture Content of transformer oil should be less than 10 ppm. | 47628 | 95 | F | 38 | 3
160 | F031C4B9C | 18510214 | F03149E | 18510214 | 2018-06-25 |  | 56099 | 95 | C | 38 | 3
161 | O021C4B6A | 18510216 | O02143B | 18510216 | 2018-06-28 | A.\ Transformer with the following. - DGPT-2 Relay. - Thermometer Pocket. - Integrally Filled. - HV BIL 95 kV. | 38837 | 95 | A | 38 | 3
162 | O201C4C | 18510210 | O2014R | 18510210 | 2018-05-17 | Limited dimension as per customer request | 39388 | 95 | NIL | 38 | 3
163 | O-71B4B | 18510219 | O-7144 | 18510219 | 2018-07-04 |  | 57051 | 95 | NIL | 38 | 3
164 | O011B4BNM | 120031511 | O0114NB | 120031511 | 2003-07-12 |  | 35273 | 95 | NIL | 38 | 3
165 | F151C4BC |  | F1514E |  | 2018-07-09 |  | 39516 | 95 | NIL | 38 | 3
166 | O011B4B | 18510220 | O0114 | 18510220 | 2000-06-20 | Prototype | 44266 | 95 | NIL | 38 | 3
167 | O011B4BNM | 120031511 | O0114NB | 120031511 | 2003-07-12 |  | 35273 | 95 | NIL | 38 | 3
168 | F151C4BB |  | F1514K1 |  | 2018-07-15 |  | 51361 | 95 | NIL | 38 | 3
169 | O011C4B2 |  | O0114/R |  | 2018-08-13 |  | 52964 | 95 | NIL | 38 | 3
170 | O101K4C1 | 18510308 | O10144E | 18510308 | 2018-08-12 |  | 31579 | 95 | NIL | 38 | 3
171 | O101K4C1 | 18510308 | O10144E | 18510308 | 2018-08-12 |  | 31579 | 95 | NIL | 38 | 3
172 | O071C4B6 |  | O0714X |  | 2018-08-28 |  | 31983 | 95 | NIL | 38 | 3
173 | A-71V4N6A | 18510335 | A-7142 | 18510335 | 2018-09-11 | A:\ Transformer with the following: - 95 kV BIL. - 10 kV Power Frequency. - Paint Color RAL7035. | 49021 | 95 | A | 34 | 10
174 | A-71V4N6A | 18510335 | A-7142 | 18510335 | 2018-09-11 | A:\ Transformer with the following: - 95 kV BIL. - 10 kV Power Frequency. - Paint Color RAL7035. | 49021 | 95 | A | 34 | 10
175 | X103OFO1 | 18510365 | X103F6A | 18510365 | 2018-09-30 |  | 37219 | 170 | NIL | 70 | 5
176 | X053O6O1 | 18510364 | X05361 | 18510364 | 2018-09-30 |  | 35387 | 170 | NIL | 70 | 5
177 | X103OFO1 | 18510365 | X103F6A | 18510365 | 2018-09-30 |  | 37219 | 170 | NIL | 70 | 5
178 | O251E4B4A | 18510148 | O25148D | 18510148 | 2018-10-08 | A.\ Transformer with the followings: - DGPT-2 Relay - Thermometer Pocket | 34916 | 95 | A | 38 | 3
179 | O101E4BW | 18510339 | O1014I | 18510339 | 2018-10-09 |  | 54612 | 95 | NIL | 38 | 3
180 | O071E4B6 |  | O071462 |  | 2018-10-10 | Note: - Transformer suitable for PSS with Main Breaker. - LV foil winding used as below (as per sales & MP advise) 1) 0071061 Cu. foil 355 x 0.85 = 115 kg. 2) 0071300 Cu. foil 355 x 0.40 = 52 kg. | 41379 | 95 | NIL | 38 | 3
181 | O073C4B |  | O07344 |  | 2018-10-16 |  | 56928 | 170 | NIL | 70 | 3
182 | F103C4B1 | 17510297 | F1034Z | 17510297 | 2018-10-24 |  | 45723 | 170 | NIL | 70 | 3
183 | O051E4BZ |  | O0514D |  | 2018-11-14 |  | 53418 | 95 | NIL | 38 | 3
184 | A101V8NZA | 18510414 | A10189 | 18510414 | 2018-11-18 |  | 33526 | 95 | A | 34 | 10
185 | A031V4N5A | 18510415 | A03141 | 18510415 | 2018-11-18 | A:/ Transformer with the following - Paint Color RAL 7035 - Enclosure Integrity : Corrosive Enviroment - Bolted Top Cover. - Transformer As per Wescosa PDI W2-A03/01V/04N/010 - HV/LV compartment shall be NEMA 4X(SS 316) - Wescosa Logo | 31695 | 95 | A | 34 | 10
186 | AA11V4N6A | 18510345 | AA1141B | 18510345 | 2018-11-18 | Same as W2-AA1/01V/04N/004A | 38552 | 95 | A | 34 | 10
187 | A-71O8S-A | 18510424 | A-7183 | 18510424 | 2018-11-25 | A:/ Transformer with the following - Wescosa Logo and name plate. | 38783 | 95 | A | 34 | 10
188 | A-71O8S-A | 18510424 | A-7183 | 18510424 | 2018-11-25 | A:/ Transformer with the following - Wescosa Logo and name plate. | 38783 | 95 | A | 34 | 10
189 | O151J4B3 |  | O1514L1 |  | 2018-12-17 |  | 45312 | 95 | NIL | 38 | 3
190 | A071V8NYA | 18510456 | A0718X | 18510456 | 2018-12-18 | WESCOSA JOB # 70432 SJ LINE # 1 | 28117 | 110 | A | 34 | 10
191 | A071V8NXA | 18510455 | A0718XA | 18510455 | 2018-12-18 | WESCOSA JOB # 70431 SJ LINE # 1 | 28035 | 110 | A | 34 | 10
192 | O053E4B2A |  | O053461 |  | 2019-02-03 |  | 29597 | 170 | A | 70 | 3
193 | O101E4F7A | 19510151 | O101414 | 19510151 | 2019-05-08 |  | 39165 | 95 | A | 38 | 3